## Schedule No. 1
LOT-V: LINE#3, 2ND CIRCUIT STRINGING OF 132KV TRANSMISSION LINE FROM GWADAR-PASNI (121KM)
LOT-V: SCHEDULE NO.1 PLANT AND MANDATORY SPARE PARTS SUPPLIED FROM ABROAD
Item No. | Description |  |  | Code Country of Origin | Unit | Quantity | Unit Price |  | Total Price | Taxes & Duties | [8 empty] | LINE LENGTH | 132
[7 empty] | CIP To Pasni (PKR) | CIP (To Panjgoor) | (PKR) | (PKR) | A | B | C=A X B | D=C X 2% | E= C X 0.5% | F= C X 5% |  |  |  |  | TOTAL TOWERS
1 | 2 |  |  | 3 | 4 | 5 | 6 | 6 | 7 = 5 x 6 | 8 |  |  |  | SAG | Breakage | SPARE |  |  | D-1 C |  | 389
A | AASC Conductor | [9 empty] | A | B | Total | 2% | 0.5% | 5% |  | Grand Total | D-1 C-30 |  | 13
1 | Furnish 465.4 KCM AASC ''CAIRO'' Conductor |  |  |  | km | 388.41 |  |  |  |  | 121 | 3 | 363 | 7.26 |  | 18.15 |  | 388.41 | D-1 C-60 |  | 15
Sub-Total A:
B | Insulators | [19 empty] | 417
1 | Furnish Fog type porcelain insulators with ball and socket coupling of 80 KN E&M strength for suspension assemblies as specified in T.P |  |  |  | No. | 17905.482 |  |  |  |  | 14 | 1212 | 16968 |  | 84.84 | 852.642 |  | 17905.482
2 | Furnish Fog type porcelain insulators with ball and socket coupling of 80 KN E&M strength for tension assemblies as specified in T.P |  |  |  | No. | 2659.23 |  |  |  |  | 15 | 168 | 2520 |  | 12.6 | 126.63 |  | 2659.23
Sub-Total B:
C | Insulator Hardware Assemblies
1 | Furnish single string suspension assemblies type JS-CR complete hardware including suspension clamp for jumpers as per specifications and drawing. |  |  |  | Set | 60 | [5 empty] | 45 |  |  |  | 15 |  | 60
2 | Furnish single string suspension assemblies type SS-CR complete hardware including suspension clamp for suspension strings as per specifications and drawing. |  |  |  | Set | 1225.35 |  |  |  |  | 3 | 1167 | 1167 |  |  | 58.35 |  | 1225.35
3 | Furnish tension string assemblies type ST-CR complete hardware incl. jumpers and dead end bodies etc complete as per specifications and drawing. (It includes 2 no. Tension Clamp Compression type along with 2 no. Aluminium Jumper Terminal As per Specification P-143:82) |  |  |  | Set | 91.5 |  |  |  |  | 6 | 168 | 168 |  |  | 15 |  | 91.5
Sub-Total C:
D | Accessories and Dampers | [15 empty] | SPARE
1 | Furnish compression type mid span joint MS-CR(prefilled with appropriate filler compound) tor AASC "CAIRO" conductor |  |  |  | No. | 181.7838 | [5 empty] | 2220 | 370.26 | 166.7838 |  |  | 15 | 181.7838
2 | Furnish compression type repair sleeve RS-CR including filler compound for AASC "CAIRO" conductor. |  |  |  | No. | 90.8919 | [7 empty] | 83.3919 |  |  | 15 | 98.3919
3 | Furnish vibration dampers for conductor |  |  |  | No. | 2627.1 | [5 empty] | 6 | 417 | 2502 |  | 125.1 |  | 2627.1
Sub-Total D:
E | Hydraulic Compressor and Dies
1 | Hydraulic Compressor ( 60 Ton) Gasoline |  |  |  | No. | 1
2 | Dies of AASC "Cairo" Conductor |  |  |  | Set | 3
Sub-Total E:
Total of Item A
Total of Item B
Total of Item C
Total of Item D
Total of Item E
LOT-V: Total of Schedule No. 1 to be carried to Schedule No.3 (Grand Summary)
Notes:
1. |  | The quantities given in Price Schedules are estimated quantities.
2. |  | The bidder shall be responsible to furnish the conductor, insulators, accessories, dampers & hardware for conductor completion of line in all respect, considering all the requirements for sag, wastage and breakage etc. No allowances are permissible.
3. |  | Price of any other item specifically not covered in the Price Schedules but is required for the completion, commissioning and operation of the overhead line shall be deemed to be included in the Price Schedules. | [8 empty] | 248
4. |  | The applicable standards/specifications alongwith their ammendments and Technical Provisions are placed in volume-II are to be read carefully before filling up the schedule of prices. | [8 empty] | 2976
[6 empty] | Name of Bidder |  |  |  |  | 1488
Signature of Bidder
Country of Origin Declaration Form
|  |  | Item | Description |  |  |  | Country

## Schedule No. 2
LOT-V: LINE#3, 2ND CIRCUIT STRINGING OF 132KV TRANSMISSION LINE FROM GWADAR-PASNI (121KM)
LOT-V: SCHEDULE NO.2 INSTALLATION AND OHTER SERVICES
Item No. | Description |  |  | Unit | Quantity | Unit Price (PKR) | Total Price (PKR) | Provincial Sales Tax (PKR) | Total Price inclusive of PST (PKR)
1 | 2 |  |  | 3 | 4 | 5 | 6 = 4 X 5 | 7 | 8 = 6 + 7
132kV TRANSMISSION LINE WORKS
A | Survey
1 | Clearing Right of Way (ROW) / Constructional Survey for Second Ciruit Stringing. |  |  | Lumpsum | 1
Sub-Total A
B | Stringing work
1 | Transport & Install 465.4 KCM AASC ''CAIRO'' Conductor single conductor configuration insulator hanging, hardware assemblies, deadending, accessories & dampers etc. complete in all respects as per specifications & approved drawings. |  |  | km Second ckt | 121
Sub-Total B
Total of Item A
Total of Item B
LOT-V: Total of Schedule No. 2 to be carried to Schedule No. 3 (Grand Summary)
NOTES:
| 1. | The quantities given in Price Schedules are estimated quantities.
| 2 | The bidder shall be responsible to furnish the conductor, insulators, accessories, dampers & hardware for conductor, completion of line in all respect, considering all the requirements for sag, wastage and breakage etc. No allowances are permissible.
| 3 | Price of any other item specifically not covered in the Price Schedules but is required for the completion, commissioning and operation of the overhead transmission line shall be deemed to be included in the Price Schedules.
| 4 | If the bidder failed to enter the rate of PST, the same shall be deemed to be included in the unit Price of the item. If the Bidder explicity mentions that the price is without PST, the bid shall be rejected
| 5 | The contractor shall take all safeguards at site for safety/security of men, material and machinery at his own responsibility and cost.
Name of Bidder
Signature of Bidder

## Schedule No.3
LOT-V: LINE#3, 2ND CIRCUIT STRINGING OF 132KV TRANSMISSION LINE FROM GWADAR-PASNI (121KM)
LOT-V: SCHEDULE NO. 3 GRAND SUMMARY
Sr No. | Description | Bid Price
Local Currency (PKR)
1 | Total Schedule No. 1 Plant and Mandatory Spare Parts Supplied from Abroad
2 | Total Schedule No. 2 Installation and Other Services
GRAND TOTAL of LOT-V:Line#1 to be carried forward to Letter of Bid
|  |  |  | Payment of custom duties & taxes, by the Employer, reimbursement of health & safety measures provided in (SCC 22.2.7) and compensation for unavoidable crop damage, tree cutting, relocation/damage to houses etc. as provided under Para 16 of Appendix 1 to Contract Agreement. | 50000000
11 | Total Schedule No. 12 Recommanded Spare Parts |  | Not to be carried forward to Letter of Bid |  | 50000000
Name of Bidder
Signature of Bidder