SCHEDULE OF TECHNICAL DATA

TABLE OF CONTENTS

1.	Deviations From Technical Provisions	1

2.	Deviations From Contractual Conditions	2

3.	Schedule of Technical Data for AASC Conductor Cairo	3

4.	Schedule of Technical Data for Disc Insulators, 80KN (Fog Type)	6

5.	Schedule of Technical Data for Single Suspension Strings For Cairo	8

6.	Schedule of Technical Data for Single Jumper Strings For Cairo	11

7.	Schedule of Technical Data for Single Tension Strings For Cairo	14

8.	Schedule of Technical Data for Mid Span Joint (Compression Splice)	17

9.	Schedule of Technical Data for Repair Sleeve	19

10.	Schedule of Techncial Data for Stock Bridge Vibration Damper	21

11.	Schedule of Techncial Data for Hydraulic Compressor and Dies	22

12.	Schedule of Technical Data for RTV Silicon Rubber Insulator Coating	24

##### DEVIATIONS FROM TECHNICAL PROVISIONS

Note:  Attach additional sheets, if necessary. Non listing of deviations, if any, shall make the tender non-responsive.

| Sr. No. | Clause No. of Technical Specifications | Variation | Remarks (Including Justification) |
| --- | --- | --- | --- |

Signature and seal of the

Manufacturer/Bidder

Note:-

- Bidders must recognize that substantial deviations may render the Bid substantially non responsive and subject to rejection.

- Where there is no deviation, the statement should be returned duly signed with an endorsement indicating “No Deviations”.

##### DEVIATIONS FROM CONTRACTUAL CONDITIONS

It is presumed that the bidder shall not take any deviation. However, if he intends to take deviations to the specified Contractual/Commercial Conditions, these must be listed in the space provided below:

| Sr. No. | Clause No. / Section No. | Deviations/Clarifications |
| --- | --- | --- |

[Note: Attach additional sheets, if necessary]

Signature and seal of the

Manufacturer/Bidder

##### SCHEDULE OF TECHNICAL DATA FOR AASC CONDUCTOR CAIRO

A.

1.	i)  Manufacturer’s Name & Address         ______________________________

ii) Standard followed	   		______________________________

2.	Correspondence address			______________________________

3.	Telex reference of manufacturer		______________________________

4.	Fax No. of manufacturer			______________________________

B-	DATA OF COMPLETE CONDUCTOR

5.	Code Name					______________________________

6.	Diameter (mm)				______________________________

7.	Cross section (mm²)			______________________________

8.	D.C. Resistance at 20ºC (Ώ/km)		______________________________

9.	Rated ultimate strength (Kg.)		______________________________

10.	Weight (Kg./km)				______________________________

11.	Lay Ratio:

i)	Outer most Layer			______________________________

ii)	Layer immediately beneath	______________________________

outside Layer

iii)	Inner most Layer for conductors	______________________________

with more than one layer.

12.	Direction of lay (outer most layer)		______________________________

13.	Strong strain curves (quote reference	______________________________

No. for each curve mentioned below).

i)	initial stress strain curve without 	______________________________

creep.

ii)	Initial stress strain curve with one	______________________________

hour creep.

iii)	Final stress strain curve.		______________________________

C-	DATA FOR ALUMINIUM ALLOY

14.	No. of wires					______________________________

15.	Dia of each wire (mm)			______________________________

16.	Dia of outer most layer (mm)		______________________________

a)	Dia of layer immediately		______________________________

beneath outer most layer (mm)

b)	Dia of inner most layer (mm)	______________________________

17.	Total cross section (mm²)			______________________________

18.	Resistivity at 20ºC Ώ/km	            	______________________________

19.	Material

a)	Composition				______________________________

b)	Impurities				______________________________

c)	Treatment.				______________________________

20.	Minimum ultimate tensile stress

a)	Before stranding (Kg/mm²)		______________________________

b)	After stranding (Kg/mm²)		______________________________

21.	Density at 20ºC (Kg/dm³)			______________________________

22.	Co-efficient of linear expansion /cº	______________________________

23.	Constant mass temperature	           ______________________________

Co-efficient /cº

24.	Type of joints in base rod			______________________________

25.	Type of joints in individual wires		______________________________

(during stranding).

26.	Distance between two consecutive 	______________________________

Joints in complete stranded conductor (m)

27.	Distance over which resistance Butt        ______________________________

welding Joints shall be annealed (mm).

28.	Elongation of single wire

a)	Before stranding 	(%)		______________________________

b)	After stranding)	(%)		______________________________

29.	Type of joints in base rod.			______________________________

30.	Grease (applicable only if ordered to do so).

a)	Composition				______________________________

b)	Guaranteed dropping	           ______________________________

temperature

D-	REEL

i)	Outside width                     (mm)	______________________________

ii)	Flange dia			(mm)	______________________________

iii)	Drum dia			(mm)	______________________________

iv)	Flange thickness		(mm)	______________________________

v)	Inside width			(mm)	______________________________

vi)	Lagging thickness		(mm)	______________________________

vii)	Arbor hole dia		(mm)	______________________________

31.	Progressive used for wooden reels

32.	Length of conductor on reel             (m)	______________________________

33.	Weight of reel with conductor	(Kg)	______________________________

34	Weight of reel without conductor	(Kg)	______________________________

35.	Detailed Reel drawings are to be             ______________________________

submitted.

| 36. | All tests, as called for in the Technical Provisions, will be carried out within the quoted cost | YES |
| --- | --- | --- |

Note: 1) Bidder has to fill-up above details to verify the Technical Data of his proposed Manufacturer

2)  All values shall be in metric system.

Signed and Stamp by		Signed and Stamped by

the Manufacturer		the Bidder

##### SCHEDULE OF TECHNICAL DATA FOR DISC INSULATORS, 80KN (FOG TYPE)

i)	Manufacturer’s Name and Address	______________________________

ii)	Standard followed	P-8 and relevant specified standards

2.	Porcelain Disc diameter (mm)	As Per P-8

3.	Disc Spacing (mm)	As Per P-8

4.	Min. Creepage Distance (mm)	As Per P-8

5.	Combined Electrical & Mechanical  	As Per P-8

Strength (kN)

6.	Mech. Impact Strength (kg-cm)	As Per P-8

7.	Power Frequency     Dry, kV	As Per P-8

Withstand Voltage    Wet, kV	As Per P-8

8.	Critical Impulse      Positive,

Withstand Voltage     kV	                           As Per P-8

1.2 x 50 Micro-       Negative,	As Per P-8

Second Wave            kV

9.	Power Frequency puncture voltage (kV)	As Per P-8

10.	Radio Influence Voltage	Test voltage to	As Per P-8

ground/kV

Max. Riv. at	As Per P-8

1000 kHz / micro

Volts

11.	Net Weight (kg.)

12.	Color of Glaze	As Per P-8

13.	Standard & Material of Locking Device	ANSI Standards /IEC Publication

372-1

14.	Type of galvanizing for Ball and Socket	Zinc Coated  hot dip

- Galvanizing for Ball, g/m²	As per P-8

- Galvanizing for Socket, g/m²	As per P-8

15.	Manufacturer’s catalogue No. of offered

Insulators

16.	All tests, as called for in the

Technical Specifications, will be carried

out within the quoted cost		 YES

17.	Type Test Reports of following tests

submitted with the Bid for offered

Insulators (Yes/No)

-	Thermal Mechanical Performance Test

-	Power Arc Test

-	Steep Wave Test

-	Artificial Pollution Performance Test

18.	No. of fog type units with zinc sleeve

supplied in past 10 years

-	Domestic

-	Abroad

19.	Packing Specifications	As per relevant Clauses

Signed and Stamp by		Signed and Stamped by

the Manufacturer						the Bidder

##### SCHEDULE OF TECHNICAL DATA FOR SINGLE SUSPENSION STRINGS FOR CAIRO (132KV)

|  |  |  |  |  | SS-CR (Galvanized) |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | i) |  | Manufacturer’s Name & Address |  |  |  |
|  | ii) |  | Standard followed |  |  |  |
|  | iii) |  | Website of Manufacturer |  |  |  |
|  | iv) |  | Contact Person of Manufacturer for this Project |  |  |  |
|  | v) |  | Email of Contact Person |  |  |  |
|  | vi) |  | Address of Manufacturing Facility |  |  |  |
| 2. |  |  | SELF LOCKING BALL HOOK |  |  |  |
|  | i) |  | Standard |  |  |  |
|  | ii) |  | Ball size |  |  |  |
|  | iii) |  | Hook Width ‘A’ |  |  |  |
|  | iv) |  | Hook Height ‘B’ |  |  |  |
|  | v) |  | Hook Opening ‘C’ |  |  |  |
|  | vi) |  | Radius ‘D’ |  |  |  |
|  | vii) |  | Dimension ‘E’ |  |  |  |
|  | viii) |  | Failing Load (Kg) |  |  |  |
|  | ix) |  | Material & process of manufactures |  |  |  |
|  | x) |  | Weight |  |  |  |
| 3. |  |  | SOCKET EYE |  |  |  |
|  | i) |  | Socket size ‘A’ |  |  |  |
|  | ii) |  | Eye size ‘E’ |  |  |  |
|  | iii) |  | Eye Thickness ‘C’ |  |  |  |
|  | iv) |  | Eye Width ‘B’ |  |  |  |
|  | v) |  | Height ‘D’ |  |  |  |
|  | vi) |  | Hole Dia ‘F’ |  |  |  |
|  | vii) |  | Material & process of manufacture of socket Eye. |  |  |  |
|  | viii) |  | Material of Split Pin |  |  |  |
|  | ix) |  | Failing Load (Kg) |  |  |  |
|  | x) |  | Weight (Kg) |  |  |  |
| 4. |  |  | ARCING HORN |  |  |  |
|  | i) |  | Length ‘A’ |  |  |  |
|  | ii) |  | Height ‘B’ |  |  |  |
|  | iii) |  | Dia ‘C’ |  |  |  |
|  | iv) |  | Dimension ‘D; |  |  |  |
|  | v) |  | Bolt Dia ‘E’ |  |  |  |
|  | vi) |  | Material & process of manufacture of Arcing Horn |  |  |  |
|  | vii) |  | Material of spring washer |  |  |  |
|  | viii) |  | Material of Bolts, Nuts |  |  |  |
|  | ix) |  | Failing Load (Kg) |  |  |  |
|  | x) |  | Weight (Kg) |  |  |  |
| 5. |  |  | SUSPENSION CLAMP |  |  |  |
|  | i) |  | Saddle Dia ‘F’ |  |  |  |
|  | ii) |  | Length of Clamp ‘A’ |  |  |  |
|  | iii) |  | Clamp Width ‘B’ |  |  |  |
|  | iv) |  | Height ‘C’ |  |  |  |
|  | v) |  | Opening ‘D’ |  |  |  |
|  | vi) |  | Rivet Pin Dia ‘E’ |  |  |  |
|  | vii) |  | Dia of U-Bolt/No. of Bolts. |  |  |  |
|  | viii) |  | Material & process of manufacture of Body & keeper |  |  |  |
|  | ix) |  | Material for Connecting Pieces Bolts, Nuts, Lock Washers |  |  |  |
|  | x) |  | Material of Cotter Pins |  |  |  |
|  | xi) |  | Resistance of Conductor Slippage |  |  |  |
|  | xii) |  | Failing Load (vertically applied load) |  |  |  |
|  | xiii) |  | Weight |  |  |  |
| 6 |  |  | The offered material is corrosion resistant to the atmospheric heavy pollution and at coastal areas |  | (YES/NO) |  |
| 7. |  | All tests, as called for in the Technical Provisions, will be carried out within the quoted cost |  | YES |  |  |

Notes: 1) Bidder has to fill-up above details to verify the Technical Data of his proposed Manufacturer

2)  All values shall be in metric system.

Signed and Stamp by		Signed and Stamped by

the Manufacturer		the Bidder

##### SCHEDULE OF TECHNICAL DATA FOR SINGLE JUMPER STRINGS FOR CAIRO (132KV)

|  |  |  |  |  | JS-CR (Galvanized) |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | i) |  | Manufacturer’s Name & Address |  |  |  |
|  | ii) |  | Standard followed |  |  |  |
|  | iii) |  | Website of Manufacturer |  |  |  |
|  | iv) |  | Contact Person of Manufacturer for this Project |  |  |  |
|  | v) |  | Email of Contact Person |  |  |  |
|  | vi) |  | Address of Manufacturing Facility |  |  |  |
| 2. |  |  | SELF LOCKING BALL HOOK |  |  |  |
|  | i) |  | Standard |  |  |  |
|  | ii) |  | Ball size |  |  |  |
|  | iii) |  | Hook Width ‘A’ |  |  |  |
|  | iv) |  | Hook Height ‘B’ |  |  |  |
|  | v) |  | Hook Opening ‘C’ |  |  |  |
|  | vi) |  | Radius ‘D’ |  |  |  |
|  | vii) |  | Dimension ‘E’ |  |  |  |
|  | viii) |  | Failing Load (Kg) |  |  |  |
|  | ix) |  | Material & process of manufactures |  |  |  |
|  | x) |  | Weight |  |  |  |
| 3. |  |  | SOCKET EYE |  |  |  |
|  | i) |  | Socket size ‘A’ |  |  |  |
|  | ii) |  | Eye size ‘E’ |  |  |  |
|  | iii) |  | Eye Thickness ‘C’ |  |  |  |
|  | iv) |  | Eye Width ‘B’ |  |  |  |
|  | v) |  | Height ‘D’ |  |  |  |
|  | vi) |  | Hole Dia ‘F’ |  |  |  |
|  | vii) |  | Material & process of manufacture of socket Eye. |  |  |  |
|  | viii) |  | Material of Split Pin |  |  |  |
|  | ix) |  | Failing Load (Kg) |  |  |  |
|  | x) |  | Weight (Kg) |  |  |  |
| 4. |  |  | ARCING HORN |  |  |  |
|  | i) |  | Length ‘A’ |  |  |  |
|  | ii) |  | Height ‘B’ |  |  |  |
|  | iii) |  | Dia ‘C’ |  |  |  |
|  | iv) |  | Dimension ‘D; |  |  |  |
|  | v) |  | Bolt Dia ‘E’ |  |  |  |
|  | vi) |  | Material & process of manufacture of Arcing Horn |  |  |  |
|  | vii) |  | Material of spring washer |  |  |  |
|  | viii) |  | Material of Bolts, Nuts |  |  |  |
|  | ix) |  | Failing Load (Kg) |  |  |  |
|  | x) |  | Weight (Kg) |  |  |  |
| 5. |  |  | SUSPENSION CLAMP |  |  |  |
|  | i) |  | Saddle Dia ‘F’ |  |  |  |
|  | ii) |  | Length of Clamp ‘A’ |  |  |  |
|  | iii) |  | Clamp Width ‘B’ |  |  |  |
|  | iv) |  | Height ‘C’ |  |  |  |
|  | v) |  | Opening ‘D’ |  |  |  |
|  | vi) |  | Rivet Pin Dia ‘E’ |  |  |  |
|  | vii) |  | Dia of U-Bolt/No. of Bolts. |  |  |  |
|  | viii) |  | Material & process of manufacture of Body & keeper |  |  |  |
|  | ix) |  | Material for Connecting Pieces Bolts, Nuts, Lock Washers |  |  |  |
|  | x) |  | Material of Cotter Pins |  |  |  |
|  | xi) |  | Resistance of Conductor Slippage |  |  |  |
|  | xii) |  | Failing Load (vertically applied load) |  |  |  |
|  | xiii) |  | Weight |  |  |  |
| 6 |  |  | The offered material is corrosion resistant to the atmospheric heavy pollution and at coastal areas |  | (YES/NO) |  |
| 7. |  | All tests, as called for in the Technical Provisions, will be carried out within the quoted cost |  | YES |  |  |

Notes: 1) Bidder has to fill-up above details to verify the Technical Data of his proposed Manufacturer

2)  All values shall be in metric system.

Signed and Stamp by		Signed and Stamped by

the Manufacturer		the Bidder

##### SCHEDULE OF TECHNICAL DATA FOR SINGLE TENSION STRINGS FOR CAIRO (132KV)

|  |  |  |  |  |  |  |  |  | ST-CR (Galvanized) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | i) |  |  | Manufacturer’s Name & Address |  |  |  |  |  |
|  | ii) |  |  | Standard followed |  |  |  |  |  |
|  | iii) |  |  | Website of Manufacturer |  |  |  |  |  |
|  | iv) |  |  | Contact Person of Manufacturer for this Project |  |  |  |  |  |
|  | v) |  |  | Email of Contact Person |  |  |  |  |  |
|  | vi) |  |  | Address of Manufacturing Facility |  |  |  |  |  |
| 2. |  |  |  | SELF-LOCKING BALL HOOK |  |  |  |  |  |
|  | i) |  |  | Standard |  |  |  |  |  |
|  | ii) |  |  | Ball size |  |  |  |  |  |
|  | iii) |  |  | Hook Width ‘A’ |  |  |  |  |  |
|  | iv) |  |  | Hook Height ‘B’ |  |  |  |  |  |
|  | v) |  |  | Hook Opening ‘C’ |  |  |  |  |  |
|  | vi) |  |  | Radius ‘D’ |  |  |  |  |  |
|  | vii) |  |  | Dimension ‘E’ |  |  |  |  |  |
|  | viii) |  |  | Failing Load |  |  |  |  |  |
|  | ix) |  |  | Material & process of manufacture |  |  |  |  |  |
|  | x) |  |  | Weight |  |  |  |  |  |
| 3. |  |  |  | SOCKET EYE |  |  |  |  |  |
|  | i) |  |  | Socket size |  |  |  |  |  |
|  | ii) |  |  | Eye size ‘E’ |  |  |  |  |  |
|  | iii) |  |  | Eye Thickness |  |  |  |  |  |
|  | iv) |  |  | Eye Width ‘B’ |  |  |  |  |  |
|  | v) |  |  | Height ‘D’ |  |  |  |  |  |
|  | vi) |  |  | Hole Dia ‘E’ |  |  |  |  |  |
|  | vii) |  |  | Material & process of manufacture of Socket Eye |  |  |  |  |  |
|  | viii) |  |  | Material of Socket split pin |  |  |  |  |  |
|  | ix) |  |  | Failing Load |  |  |  |  |  |
|  | x) |  |  | Weight |  |  |  |  |  |
| 4. |  |  |  | ARCING HORN |  |  |  |  |  |
|  | i) |  |  | Length ‘A’ |  |  |  |  |  |
|  | ii) |  |  | Height ‘B’ |  |  |  |  |  |
|  | iii) |  |  | Dia ‘C’ |  |  |  |  |  |
|  | iv) |  |  | Dimension ‘D’ |  |  |  |  |  |
|  | v) |  |  | Bolt Dia ‘E’ |  |  |  |  |  |
|  | vi) |  |  | Material & process of manufacture of Arcing Horn |  |  |  |  |  |
|  | vii) |  |  | Material of spring washer |  |  |  |  |  |
|  | viii) |  |  | Material of Bolts, Nuts |  |  |  |  |  |
|  | ix) |  |  | Failing Load (kg) |  |  |  |  |  |
|  | x) |  |  | Weight (kg) |  |  |  |  |  |
| 5. |  |  |  | SHACKLE (L.S) |  |  |  |  |  |
|  | i) |  |  | Shackle opening ‘A’ |  |  |  |  |  |
|  | ii) |  |  | Pin Dia ‘B’ |  |  |  |  |  |
|  | iii) |  |  | Height ‘C’ |  |  |  |  |  |
|  | iv) |  |  | Radius ‘D’ |  |  |  |  |  |
|  | v) |  |  | Shackle Thickness’E’ |  |  |  |  |  |
|  | vi) |  |  | Material & process of manufacture of Shackle |  |  |  |  |  |
|  | vii) |  |  | Material of Rivet Pin |  |  |  |  |  |
|  | viii) |  |  | Material of Washer |  |  |  |  |  |
|  | ix) |  |  | Material of Split Pin |  |  |  |  |  |
|  | x) |  |  | Failing Load |  |  |  |  |  |
|  | xi) |  |  | Weight |  |  |  |  |  |
| 6. | a) |  |  | Tension clamp (Compression Type) |  |  |  |  |  |
|  | i) |  |  | Failing Load |  |  |  |  |  |
|  | ii) |  |  | Weight |  |  |  |  |  |
|  | iii) |  |  | Result of Heat Cycle Test provided with the bid (Yes/No) |  |  |  |  |  |
|  | b) |  |  | Aluminium Alloy Compression Dead End |  |  |  |  |  |
|  | i) |  |  | Inner Dia |  |  |  |  |  |
|  | ii) |  |  | Outer Dia |  |  |  |  |  |
|  | iii) |  |  | Length (l) |  |  |  |  |  |
|  | iv) |  |  | Die Size |  |  |  |  |  |
|  | v) |  |  | Material & process of manufacture |  |  |  |  |  |
|  | c) |  |  | Jumper Terminal |  |  |  |  |  |
|  | i) |  |  | No. of Bolts |  |  |  |  |  |
|  | ii) |  |  | Length of Jumper Terminal |  |  |  |  |  |
|  |  |  |  | - Before Compression |  |  |  |  |  |
|  |  |  |  | - After Compression |  |  |  |  |  |
|  | iii) |  |  | Material of Bolts, Nuts |  |  |  |  |  |
|  | iv) |  |  | Material of Spring Washers |  |  |  |  |  |
|  | v) |  |  | Material of Plain Washers |  |  |  |  |  |
| 7. |  |  |  |  | Compressor Dies, K |  |  |  |  |
| 8. |  |  |  |  | The offered material is corrosion resistant to the atmospheric heavy pollution and at coastal areas |  |  | (Yes/No) |  |
| 9. |  |  | All tests, as called for in the Technical Provisions, will be carried out within the quoted cost |  |  | YES |  |  |  |

Notes: 1) Bidder has to fill-up above details to verify the Technical Data of his proposed Manufacturer

2)  All values shall be in metric system.

Signed and Stamp by		Signed and Stamped by

the Manufacturer		the Bidder

##### SCHEDULE OF TECHNICAL DATA FOR MID SPAN JOINT (COMPRESSION SPLICE)

| Sr. No. |  | Information required | Data to be supplied by the Bidder/Manufacturer For AASC CAIRO Designated as MS-CR |  |
| --- | --- | --- | --- | --- |
| 1. |  | Manufacturer’s Name & Address |  |  |
| 2. |  | Standard followed |  |  |
| 3. |  | Aluminium Alloy Sleeve |  |  |
|  | i) | Inner Dia |  |  |
|  | ii) | Outer Dia |  |  |
|  | iii) | Length |  |  |
|  | iv) | Material & process of manufacture |  |  |
|  | v) | Weight |  |  |
| 4. |  | Die Size Aluminium |  |  |
| 5. |  | Compressor Dies, K |  |  |
| 6. |  | Failing Load |  |  |
| 7. |  | Factory prefilled with appropriate filler compound | YES |  |
| 8. |  | Packing Specifications |  |  |
| 9. |  | Compression pressure (Tonne) |  |  |
| 10. |  | Minimum corona extinction voltage under dry conditions |  | kV |
| 11. |  | Radio interference voltage under conditions |  |  |
| 12. |  | All tests, as called for in the Technical Provisions, will be carried out within the quoted cost | YES |  |
| 13. |  | Packing Specifications | As Per relevant Clause |  |
| 14. |  | Whether drawing of conductor mid span Joint submitted | YES |  |

Note:-	       i.	    All values shall be in metric system.

ii.	Detailed dimensional drawings showing type of material and other details /data etc. must be submitted with the bid.

iii.	Bidder/Manufacturer shall completely fill the Schedule of Technical Data.

Signed and Stamp by		Signed and Stamped by

the Manufacturer		the Bidder

##### SCHEDULE OF TECHNICAL DATA FOR REPAIR SLEEVE (RS-CR)

| Sr. No. | Information required | Data to be supplied by the Bidder/Manufacturer for Repair Sleeve designated as: |
| --- | --- | --- |
|  |  | RS-CR |

1.		Manufacturer’s Name &Address

2.		Standard followed

- Before compression dia. of sleeve:

(i) Inner diameter                                 					mm

(ii) Outer diameter                                					mm

- Dimensions after compression:

(i) Corner to Corner                            					mm

(ii) Surface to Surface                          					mm

5.				Length of the sleeve:

(i) Before compression                      					mm

(ii) After compression                        					mm

6.		Material & process of manufacture

7.		Failing Load

8.		Die size

9.		Weight of sleeve

10.		Packing Specifications

11.		Compression pressure

Tonne

12.			Minimum corona extinction voltage  	   				kV

under dry conditions

13.	           Radio interference voltage under

conditions

14.                 All tests, as called for	         YES

in the Technical Provisions, will

be carried out within the quoted cost

15.	              Whether drawing of conductor repair    YES            				            sleeve submitted

Note:-	       i.	    All values shall be in metric system.

ii.	Detailed dimensional drawings showing type of material and other details/data etc. must be submitted with the bid.

iii.	Bidder/Manufacturer shall completely fill the Schedule of Technical Data

Signed and Stamp by		Signed and Stamped by

the Manufacturer		the Bidder

##### SCHEDULE OF TECHNCIAL DATA FOR STOCK BRIDGE VIBRATION DAMPER

|  |  |  | SB-CR |
| --- | --- | --- | --- |
| 1. |  | Manufacturer’s Name & Address |  |
| 2. |  | Standard followed |  |
| 3. |  | Damper capability to suppress Aeolian |  |
| 4. |  | Supply of certified copies of following curves (Yes/No) |  |
|  | i) | Frequency of vibration versus bending amplitude. |  |
|  | ii) | Power dissipated by damper versus vibration frequency. |  |
|  | iii) | Information as required under Clause-9 of Specification. |  |
| 5. |  | Position of fixing dampers on the conductor/ wire from the clamp mouth |  |
|  | i) | At tension points |  |
|  | ii) | At suspension points |  |
| 6. |  | The number of dampers required per span for various span lengths: |  |
|  | i) | Span lengths: 200m, 225m, 250m, 280m, 300m, 325m, 350m, 375m |  |
|  | ii) | Number of dampers |  |
|  | a. | Suspension span |  |
|  | b. | Tension span |  |
| 7. |  | Clamping Torque (kg m) |  |
| 8. |  | Weight of Damper |  |
| 9. |  | Material & process of Manufacture of Damper weights. |  |
| 10. |  | Material of Clamp, Bolts & Lock Washers |  |
| 11. |  | Material & No. of Strands of Messenger wire. |  |
| 12. |  | The offered material is corrosion resistant to the atmospheric heavy pollution and coastal areas (Yes/No) |  |
| 13. |  | All tests, as called for, will be carried out in the Technical Provisions, within the quoted cost |  |

Notes:  1) Bidder has to fill-up above details to verify the Technical Data of his proposed Manufacturer

2) All values shall be in metric system.

Signed and Stamp by		Signed and Stamped by

the Manufacturer		the Bidder

##### SCHEDULE OF TECHNCIAL DATA FOR HYDRAULIC COMPRESSOR AND DIES

| 1 | 60 Ton Hydraulic Compressor: |  |
| --- | --- | --- |
| a) | Maker’s Name & Address |  |
| b) | Type of engine | Gasoline |
| c) | Nominal compressor thrust, tons | 60 |
| d) | At what pressure the above stated thrust will be developed, kg/cm2 | 700 |
| e) | Length of hose pipe, meter | 10 |
| f) | Pressure gauge and other necessary adaptors fitted with the compressor | Yes |
| g) | Dial range of pressure gauge, kg/cm2 | 0-1500 |
| h) | Fuel capacity of the tank of Engine, Litres |  |
| i) | Total weight of compressor, kg |  |
| j) | Total weight of engine, kg |  |
| k) | Working temperature range, °C | -10°C~55°C |
| I) | Remote control operation | Yes/No |
| m) | Packing Specifications |  |
| 2 | Compression Dies: |  |
| a) | Maker’s Name & Address |  |
| b) | One die size required for all conductor accessories |  |
| c) | Die size for conductor compression splice (Mid Span Joint) for Cairo -Aluminium Alloy |  |
| d) | Die size for conductor repair sleeve for Cairo -Aluminium Alloy |  |
| e) | Die size for conductor compression dead-end for Cairo -Aluminium Alloy |  |
| f) | Dies for conductor are compatible with type of compressors and accessories being supplied(indicate separately type of compressor and corresponding die) | Should be compatible |
| g) | Whether drawings of Conductor dies submitted adaptors fitted with the compressor | Yes |
| h) | Packing Specifications |  |

Notes:  1) Bidder has to fill-up above details to verify the Technical Data of his proposed Manufacturer

2) All values shall be in metric system.

Signed and Stamp by		Signed and Stamped by

the Manufacturer		the Bidder

##### SCHEDULE OF TECHNICAL DATA FOR RTV SILICON RUBBER INSULATOR COATING

| Sr No. | Information Required |  |
| --- | --- | --- |
| 1 | Manufacturer’s Name & Address |  |
| 2 | Applicator’s Name & Address |  |
| 3 | Standards Followed |  |
|  | RATINGS |  |
| 4 | Method of application | Dip |
| 5 | Use of Primer for adhesion | Forbidden |
| 6 | Type of Coating | One-Part, RTV |
| 7 | Appearance | Paint |
| 8 | Specific Gravity | 1.10-1.25 |
| 9 | Color of Coating (Red or any other subject to Engineer’s approval) |  |
| 10 | Application Temperature Range, o C | 0 o -50 o C |
| 11 | Skin-over time at Standard Conditions, minutes | 15 |
| 12 | Track free time at Standard Conditions, minutes | 15-45 |
| 13 | Percent Solids by weight, % | 70 |
| 14 | Dynamic Viscosity. cP (centipoise) | 1000-3500 |
| 15 | Dielectric Strength, V/mil (ASTM D149) | 350-560 |
| 16 | Volume Resistivity, Ohm.cm (ASTM D257) | 1 x 1014 - 37 x 1014 |
| 17 | Dissipation Factor Test as per ASTM D150 | 0.01 - 0.09 |
| 18 | Tracking Wheel Withstand, hours | 1000 |
| 19 | Receding Water Contact Angle. degrees, minimum | ≥80 |
|  | Material |  |
| 20 | Dry Arc Resistance, Seconds | 180-200 |
| 21 | Reinforcing Filler |  |
| 22 | Alumina Trihydrate (ATH) Content |  |
| 23 | UV Absorbent |  |
| 24 | Condensation Catalyst |  |
| 25 | Adhesion Promoter |  |
| 26 | Longevity (Service Life), years |  |
|  | MATERIAL CONSUMPTION PER INSULATOR |  |
| 27 | Quantity of RTV coating required for one 80kN Fog Type Disc Insulator, kg, maximum |  |
|  | COMPOSITION AND PROPERTIES |  |
| 28 | Dry Film Thickness(DFT), mm, minimum | 0.38-0.50 |
| 29 | Tolerance (±) of DFT, mm |  |
| 30 | Wet Film Thickness |  |
| 31 | No. of Coats to achieve DFT |  |
| 32 | Shelf life, months | 12 |
| 33 | No Flashover Warranty, Years | 10 |
| 34 | Recommended Dew Point Temperature Difference Range, oC |  |
|  | TYPE TESTS |  |
| 35 | Inclined Plane Tracking & Erosion Test as per IEC 60587 |  |
| 36 | Accelerated Ageing Test (1000 Hours) as per IEC 61109 |  |
| 37 | Artificial Pollution Test by Salt Fog Method as per IEC 60507 |  |
| 38 | Angle of Hydrophobicity as per IEC TS 62073 |  |
| 39 | Hydrophobicity Recovery by Corona Test Method |  |
| 40 | Dry Arc Resistance as per ASTM D495 |  |
| 41 | Dielectric Strength Test as per ASTM D149a |  |
| 42 | Volume & Surface Resistivity Test as per ASTM D257 |  |
| 43 | Dissipation Factor Test as per ASTM D150 |  |
| 44 | Accelerated weathering test as per ISO 4892 |  |
| 45 | All tests, as called for, will be carried out in the Technical Provisions, within the quoted cost |  |

Notes:  1) Bidder has to fill-up above details to verify the Technical Data of his proposed Manufacturer

2) All values shall be in metric system.

Signed and Stamp by		Signed and Stamped by

the Manufacturer		the Bidder